## MIFlowCytEV
Framework Criteria | What to report | Please complete each criterion
1.1 Preanalytical variables conforming to MISEV guidelines. | Preanalytical variables relating to EV sample including source, collection, isolation, storage, and any others relevant and available in the performed study. | Blood was collected from 100 individuals in 5 mL 0.109 M citrated plastic tubes (BD Vacutainer, Becton Dickinson) via antecubital vein puncture using a 21-gauge needle. The first 1 mL was discarded, prior to collection of 3.5 mL of blood. Tubes were transported vertically at room temperature. Within 1 hour of blood withdrawal, platelet-depleted plasma was prepared by centrifugation (Eppendorf 5810-R centrifuge, S-4-101 Rotor, Eppendorf) twice at 2500 ×g for 15 minutes at 20 °C. The lowest deceleration setting was used, setting ‘1ʹ. The first centrifugation step was done with 3.5 mL whole blood in 5 mL tubes (BD Vacutainer, Becton Dickinson). Supernatant was collected 10 mm above the buffy coat. The second centrifugation step was done with 2.5 mL platelet-depleted plasma in 15 mL conical tubes (Falcon Conical, Corning). The absence of haemolysis is confirmed by the lack of a spectrophotometric absorbance peak of free haemoglobin at 414 nm using a BioDrop DUO spectrophotometer. 1 mL x2 aliquots of platelet-depleted plasma were transferred to 1.5 mL low-protein binding Eppendorf tubes (Thermo Fisher Scientific) and snap frozen in liquid nitrogen before being stored at −80 °C. Age, sex, fasting status and smoking status were recorded for all individuals.
1.2 Experimental design according to MIFlowCyt guidelines. | EV-FC manuscripts should provide a brief description of the experimental aim, keywords, and variables for the performed FC experiment(s) using MIFlowCyt checklist criteria: 1.1, 1.2, and 1.3, respectively. Template found at www.evflowcytometry.org. | 1.1 Aim: To compare the concentration of CD41a+ platelet-derived EVs in platelet-depleted plasma between individuals with type-2 diabetes mellitus (T2DM) and healthy controls. We hypothesize that the concentration of platelet-derived EVs will be increased in individuals with T2DM as T2DM has been associated with increased platelet activation. 1.2 Keywords: EV; extracellular vesicles, T2DM; type-2 diabetes mellitus. 1.3 Experimental variables: Platelet-depleted plasma samples were measured from 50 individuals with T2DM and 50 healthy controls. There was no significant difference in age, sex, fasting-status or smoking-status between individuals with and without T2DM. Scatter-based triggering was used for the detection of particles.
2.1 Sample staining details | State any steps relating to the staining of samples. Along with the method used for staining, provide relevant reagent descriptions as listed in MIFlowCyt guidelines (Section 2.4 Fluorescence Reagent(s) Descriptions). | The presence of CD41a was determined using CD41a antibody staining. Please see Table 2 for an overview of the reagents used. 5 × 109 EVs (estimated by resistive pulse sensing (nCS1, Spectradyne) after size-exclusion chromatography (SEC) treatment) suspended in 495 µL of Dulbecco’s phosphate-buffered saline (DPBS) were incubated with 1x vFRed membrane stain (Cellarcus Biosciences), 5 mM CaCl2 (Sigma Aldrich), 20 µM PPACK (Sigma Aldrich), and 5 µL of 25 µg mL−1 anti-human CD41a mouse-IgG1κ-PE (BioLegend) for one hour at 20°C and protected from light. A matched isotype control, mouse-IgG1κ-PE (BioLegend), was incubated in the same conditions and concentration (0.25 µg mL−1) as the anti-CD41a stained sample. The final concentration used for EV measurement using serial dilution 5 was (0.016 µg mL−1) for anti-CD41a and its matched isotype.
2.2 Sample washing details | State any steps relating to the washing of samples. | Unbound antibody from CD41a-stained EV samples was removed using SEC. 500 µL of sample was added to a size exclusion column and performed according to manufacturer recommendations. Briefly, the column (qEV Original, Izon Science) was next eluted with 0.2 µm-filtered DPBS and 500 µL fractions were collected. Fractions 7–9 were subsequently pooled together for analysis. The column flow rate was ~0.8–1.2 µL min−1, with 500 µL DPBS buffer manually maintained on top of the column.
2.3 Sample dilution details | All methods and steps relating to sample dilution. | 30 µL of platelet-depleted plasma was added to 5 µL of reagents and 265 µL of DPBS, resulting in a 10-fold dilution. This 10-fold dilution was then serially diluted six times, with 150 µL of sample added to 150 µL of DBPS in a 96-well polypropylene plate (Corning). All wells were measured with the fifth serial dilution (320-fold dilution) in the series used for calculating EV concentration in the starting material.
3.1 Buffer alone controls. | State whether a buffer-only control was analyzed at the same settings and during the same experiment as the samples of interest. If utilized it is recommended that all samples be recorded for a consistent set period of time e.g. 5 minutes, rather than stopping analysis at a set recorded event count e.g. 100,000 events. This allows comparisons of total particle counts between controls and samples. | A buffer-only control of 0.1 µm-filtered DPBS was recorded at the same flow cytometer acquisition settings as all other samples, including triggering threshold, voltages, and flow rate. The buffer-only control had a count of ~100 events s−1.
3.2 Buffer with reagent controls. | State whether a buffer with reagent control was analyzed at the same settings, same concentrations, and during the same experiment as the samples of interest. If used state what the results were. | A buffer with reagent control (0.25 µg mL-1 anti-human CD41a mouse-IgG1κ-PE (Clone: HIP8, Manufacturer: BioLegend, Cat No. 303,706, Lot No. B250952) was recorded at the same flow cytometer acquisition settings as all other samples, including triggering threshold, voltages, and flow rate. This control was serially diluted 6 times, with 150 µL of buffer with reagent added to 150 µL of DBPS to allow comparisons between serially diluted stained samples. Buffer with reagent controls had an event rate of ~100 events s−1 and were therefore not changed from the buffer-only control.
3.3 Unstained controls. | State whether unstained control samples were analyzed at the same settings and during the same experiment as stained samples. If used, state what the results were, preferably in standard units. | Unstained controls were measured at the same dilution as matched stained and isotype controls. Flow cytometer acquisition settings were maintained for all samples, including triggering threshold, voltages, and flow rate. The event rate of unstained controls differed by <5% from isotype controls. No substantial changes in scatter or fluorescence signals were observed between unstained and matched isotype controls.
3.4 Isotype controls. | The use of isotype controls is applicable to immunofluorescence labelling only. State whether isotype controls were analyzed at the same settings and during the same experiment as stained samples. If utilized, state which antibody they are matched to, the concentration used, and what the results were (Section 4.2, 4.3, 4.4). Due to conjugation differences between manufacturers if should be stated if the isotype controls are from the same manufacturer as the matched antibodies. | Isotype controls were used at the same concentration as matched stained controls and were recorded at the same dilution as matched stained and unstained controls and stained samples. Please see Table 3 for further reagent information. Flow cytometer acquisition settings were maintained for all samples, including triggering threshold, voltages and flow rate. No substantial changes in scatter or fluorescence signals were observed between unstained and matched isotype controls.
3.5 Single-stained controls. | State whether single-stained controls were included. If used state whether the single-stained controls were recorded using the same settings, dilutions, and during the same experiment as stained samples and state what the results were, preferably in standard units (Section 4.2, 4.3, 4.4). | vFRed (Cellarcus Biosciences) and anti-human CD41a mouse-IgG1κ-PE (BioLegend) single-stained controls for a reference set of samples were analysed to aid compensation of anti-human CD41a mouse-IgG1κ-PE into the vFRed channel when excited by the 488 nm laser.
3.6 Procedural controls. | State whether procedural controls were included. If used, state the procedure and if the procedural controls were acquired at the same settings and during the same experiment as stained samples. | Excess antibody was reduced by further purification of the stained EVs using SEC columns (qEV Original, Izon Science), with fractions 7–9 collected for analysis. To assess whether this step caused artefacts, 500 µL of each control sample (buffer alone, buffer with reagent, unstained, and isotype controls) was run through a SEC column with 500 µL fractions (7–9) collected for analysis. These SEC processed samples were compared to a sample of unprocessed buffer alone, buffer with reagent, unstained sample, isotype sample, and stained sample to demonstrate the removal of antibody with no artefacts being introduced from the procedure.
3.7 Serial dilutions. | State whether serial dilutions were performed on samples and note the dilution range and manner of testing. The fluorescence and/or scatter signal intensity would ideally be reported in standard units (see Section 4.3, 4.4) but arbitrary units can also be used. This data is best reported by plotting the recorded number events/concentration over a set period of time at different sample dilution. The median fluorescence intensity at each of the dilutions should also ideally be plotted on the same or a separate plot. | Samples were serially diluted six times, with 150 µL of sample added to 150 µL of DBPS and measured using a 96-well polypropylene plate (Corning). The 4th, 5th and 6th dilutions showed a linear decrease between dilution factor and measured particle count over one minute. The median fluorescence and scatter intensity of all events for dilutions 4, 5 and 6 were maintained at 500 ± 18 PE molecules of equivalent soluble fluorophore (MESF; See Component 4.3 for MESF calibration), and 3000 ± 31 side scatter arbitrary units, respectively. Dilutions 1–3 did not show a linear correlation between dilution factor and measured event count, nor were their fluorescence and scatter intensity maintained. The fifth serial dilution (320-fold dilution) in the series was therefore used to calculate EV concentration and report immunostaining data.
3.8. Detergent treated EV-samples | State whether samples were detergent treated to assess lability. If utilized, state what detergent was used, the end concentration of the detergent, and what the results were of the lysis. | Stained samples, diluted 320-fold, were treated with 0.1% Triton X-100 for 5 min at 21°C to test the lability of vFRed and CD41a-PE stained events. These measurements were used to compare vFRed and CD41a-PE stained samples not treated with detergent. vFRed and CD41a-PE positive events decreased 87% ± 9% upon treatment with 0.1% Triton X-100 for 5 min.
4.1 Trigger Channel(s) and Threshold(s). | The trigger channel(s) and threshold(s) used for event detection. Preferably, the fluorescence calibration (Section 4.3) and/or scatter calibration (Section 4.4) should be used in order to report the trigger channel(s) and threshold(s) in standardized units. | Based on the buffer alone control (Component 3.1), detection was triggered on the 488 nm laser excited PE-Texas Red channel (630/30 bandpass filter) at a threshold of 500 arbitrary units, equivalent to ~50 PE-Texas Red MESF, determined using Spherotech Rainbow beads and the manufacturer’s calibration values (see Component 4.3 flor fluorescence calibration). The buffer alone control (Component 3.1) had an event rate of ~100 events s−1.
4.2 Flow Rate / Volumetric quantification. | State if the flow rate was quantified/validated and if so, report the result and how they were obtained. | Samples were enumerated using the integral instrument flow rate sensors, resulting in a flow rate of 10 µL min−1. This was calibrated using weighed volumes of deionized water prior to analysis.
4.3 Fluorescence Calibration. | State whether fluorescence calibration was implemented, and if so, report the materials and methods used, catalogue numbers, lot numbers, and supplied reference units for the standards. Fluorescence parameters may be reported in standardized units of MESF, ERF, or ABC beads. The type of regression used, and the resulting scatter plot of arbitrary data vs standard data for the reference particles should be supplied. | Arbitrary PE fluorescence scale units (channel number), excited by the 561 nm laser and collected using a 586/15 bandpass filter, were converted to MESF units using PE Quantibrite beads (Becton Dickinson, Cat. 100,001, Lot. L1000001). Least-squares regression was performed between log10-transformed values of PE-A intensities versus bead PE MESF units (provided by manufacturer) using the 3 dimmest bead populations. The resulting regression showed a high correlation with an R2 value of 0.99, with a slope of 0.931 and intercept of 1.345.
4.4 Light Scatter Calibration. | State whether and how light scatter calibration was implemented. Light scatter parameters may be reported in standardized units of nm2, along with information required to reproduce the model. | Side scatter calibration was performed using Mie modelling software, taking into account the wavelength (405 nm) and polarization state (perpendicular to detection) of the laser, the light collection geometry (side scatter, numerical aperture 1.2), and the particle diameter and refractive index. Least square fitting was used to relate the median signal of each National Institute of Standards and Technology (NIST)-traceable polystyrene bead population to the theory, resulting in a linear scaling factor of 11.3 and an R2 of 0.99. The limiting side scatter collection angle range of the instrument was determined to be 38-142°, based on the flow cell dimensions. Scatter calibration was shown by plotting modelled vs acquired polystyrene bead data.
5.1 EV diameter/surface area/volume approximation. | State whether and how EV diameter, surface area, and/or volume has been calculated using FC measurements. | EV diameter was approximated using the fluorescence intensity of a membrane intercalating dye; vFRed. The vFRed cytometer collection channel was calibrated using vFRed-stained liposomes of known population diameter (median 100 nm, range ~50–150 nm) and surface area distributions, determined using nanoparticle tracking analysis (NTA) and resistive pulse sensing (RPS). To calibrate flow cytometer fluorescence intensity in terms of equivalent surface area, a least-squares linear regression was performed between the liposome population surface area and vFRed fluorescence intensity distributions.
5.2 EV refractive index approximation. | State whether the EV refractive index has been approximated and how this was done. | Particle refractive index was derived from the ratio of side and forward scatter signal (i.e. Flow-SR). NIST traceable polystyrene beads with known size and refractive index (Exometry, Netherlands) were used to create a mathematical model of the optical configuration of the flow cytometer using FCMPASS software. Using this model, a Flow-SR versus diameter lookup table was calculated, which allows determination of the particle diameter from the measured Flow-SR. The determined diameter was subsequently used to derive the refractive index from a lookup table of side scatter versus diameter. Lookup tables were calculated for diameters ranging from 10 to 1000 nm, with step sizes of 1 nm, and refractive indices from 1.35 to 1.80 with step sizes of 0.001.
5.3 EV epitope number approximation. | State whether EV epitope number has been approximated, and if so, how it was approximated. | Anti-mouse antibody capture beads (ABC) (Quantum simply cellular, Bangs Laboratories, Cat No. 100,001, Lot No. L1000001) were incubated with 5 µL of 25 µg mL−1 anti-CD41a mouse-IgG1κ-PE (Clone: HIP8, Manufacturer: BioLegend, Cat No. 303,706, Lot No. B250952) for 15 min at 20°C and protected from light. The PE channel units were converted to ABC units by performing regression between PE-A and ABC number using the 3 dimmest bead populations. Regression showed a high correlation with an R2 value of 0.99.
6.1 Completion of MIFlowCyt checklist. | Complete MIFlowCyt checklist criteria 1 to 4 using the MIFlowCyt guidelines. Template found at www.evflowcytometry.org. | The MIFlowCyt checklist v1.0.0 has been completed and attached in the Supplementary Information.
6.2 Calibrated channel detection range | If fluorescence or scatter calibration has been carried out, authors should state whether the upper and lower limits of a calibrated detection channel were calculated in standardized units. This can be done by converting the arbitrary unit scale to a calibrated scaled, as discussed in Section 4.3 and 4.4, and providing the highest unit on this scale and the lowest detectable unit above the unstained population. The lowest unit at which a population is deemed ‘positive’ can be determined a variety of ways, including reporting the 99th percentile measurement unit of the unstained population for fluorescence. The chosen method for determining at what unit an event was deemed positive should be clearly outlined. | The median intensity of the unstained EV population was 200 PE MESF units. The maximum channel number (218), when scaled to MESF, was 592,435 PE MESF units. Positive events on PE were assumed to be two standard deviations above the unstained EV population, 240 PE MESF units. The detection range of the PE channel used for PE-positive events was therefore 320 to 592,435 PE MESF units.
6.3 EV number/concentration. | State whether EV number/concentration has been reported. If calculated, it is preferable to report EV number/concentration in a standardized manner, stating the number/concentration between a set detection range. | The detected concentration of CD41a-PE positive EVs between calibrated detection range (240 and 592,435 PE MESF units) was 5.62 × 108 particle mL-1. Flow cytometer acquisition settings were maintained for all samples, including triggering threshold, voltages and flow rate.
6.4 EV brightness. | When applicable, state the method by which the brightness of EVs is reported in standardized units of scatter and/or fluorescence. | EV brightness was compared using the median (25th, 75th percentile) PE MESF intensity, due to the non-parametric distribution of EV staining. Unstained platelet-derived EVs from healthy patients and T2DM patients had a median fluorescence intensity of 240 (290, 120) PE MESF. CD41a-positive platelet-derived EVs from healthy patients had a median fluorescence intensity of 535 (800, 205) PE MESF units. CD41a-positive platelet-derived EVs from T2DM patients had a median fluorescence intensity of 560 (890, 250) PE MESF units.
7.1. Sharing of data to a public repository. | Provide a link to the experimental data in a public data repository. | FC files and the analysis workspace have been uploaded FlowRepository and can also be obtained by contacting the corresponding author.
References
Welsh, J.A., Horak, P., Wilkinson, J.S., Ford, V.J., Jones, J.C., Smith, D., Holloway, J.A. and Englyst, N.A. (2019), FCMPASS Software Aids Extracellular Vesicle Light Scatter Standardization. Cytometry. doi:10.1002/cyto.a.23782
Welsh, J.A., Jones, J.C. and Tang, V.A. (2020), Fluorescence and Light Scatter Calibration Allow Comparisons of Small Particle Data in Standard Units across Different Flow Cytometry Platforms and Detector Settings. Cytometry. doi:10.1002/cyto.a.24029
Welsh, J. A., & Jones, J. C. (2020). Small particle fluorescence and light scatter calibration using FCMPASS software. Current Protocols in Cytometry, 94, e79. doi: 10.1002/cpcy.79

## Sample Acq Info
The following extrapolations of thresholds to standard units assume that samples were acquired at the same detector settings as their calibration controls.
If applied, calibration metadata for fluorescence and light scattering calibration can be found in the 'Fl Cali' and 'SSC Cali' sheets, respectively.
Filename | Sample Type | Trigger Parameter | Trigger ID | Trigger Threshold (au) | Detector Setting (au) | PE MESF | Trigger Threshold ¦ Polystyrene (nm) | Trigger Threshold ¦ Silica (nm) | Trigger Threshold ¦ MLV Diameter (nm) | Trigger Threshold ¦ Smoothed Polystyrene Diameter (nm) | Trigger Threshold ¦ EV Diameter (nm) [High RI] | Trigger Threshold ¦ EV Diameter (nm) [Average RI] | Trigger Threshold ¦ EV Diameter (nm) [Low RI] | Trigger Threshold ¦ Scattering CS (nm^2)
01-vCal EV Settings.fcs | Sample | Violet SSC | SSC_1-H | 1650 | 250 | - | 65.5 | 89.6 | 91.5 | 65.5 | 111.5 | 128.7 | 194.1 | 7.9
02-Well-H1(1).fcs | Sample | Violet SSC | SSC_1-H | 100000 | 100 | - | 65.5 | 89.6 | 91.5 | 65.5 | 111.5 | 128.7 | 194.1 | 7.9
02-vCal Nolan Settings.fcs | Sample | Violet SSC | SSC_1-H | 100000 | 100 | - | 65.5 | 89.6 | 91.5 | 65.5 | 111.5 | 128.7 | 194.1 | 7.9
03-Well-A10-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-A11-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-A12-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-A7(1)-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-A7-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-A8(1)-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-A8-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-A9(1)-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-A9-StainingBuffer.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-B10-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-B11-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-B12-Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-B7-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-B8-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-B9--Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-C10-Lipo100-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-C11-Lipo100-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-C12-Lipo100-Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-C7-Lipo100-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-C8-Lipo100-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-C9-Lipo100-Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-D10-PLT-EVs-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-D11-PLT-EVs-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-D12-PLT-EVs-Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-D7-PLT-EVs-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-D8-PLT-EVs-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-D9-PLT-EVs-Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-E10-Difi-EVs-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-E11-Difi-EVs-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-E12-Difi-EVs-Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 800 | 856 | 40.32 | - | - | - | - | - | - | - | -
03-Well-E7-Difi-EVs-Buffer-vFRed.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-E8-Difi-EVs-Buffer-vFRed-anti-TS.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -
03-Well-E9-Difi-EVs-Buffer-vFRed-anti-EGFR.fcs | Sample | B-690-50 | FL2-H | 1900 | 1000 | 106.83 | - | - | - | - | - | - | - | -

## Fl Cali
FCMPASS software version | 3.09
Fluorescence Calibration
Parameter | New Parameter Name | Reference Fluor | Reference Value 1 | Reference Value 2 | Reference Value 3 | Reference Value 4 | Reference Value 5 | Reference Value 6 | Reference Value 7 | Reference Value 8 | Acquired Value 1 | Acquired Value 2 | Acquired Value 3 | Acquired Value 4 | Acquired Value 5 | Acquired Value 6 | Acquired Value 7 | Acquired Value 8 | F/P Ratio | Slope | Interecept | R-Square | Regression Type | Manufacturer | Cat. No. | Lot No.
FL2-H ¦ B-690-50-H | PE MESF | PE | 11 | 196 | 565 | 1645 | 5918 | 18116 | 59311 | 157373 | 0 | 0 | 12734 | 36558 | 92172 | 268808 | 821854 | 1945639 | 1 | 0.88768 | 1.6649 | 0.9986 | log | Becton Dickinson | 340495 | 73318

## SSC Cali
FCMPASS software version | 3.07
Flow Cytometer Modelling Settings
SSC Parameter | Wavelength | Sheath RI | Determine HA | Aperture Geom | Theta | Phi | Eps | Cali. Factor (nm^2)
FL5-H ¦ VSSC-H | 405 | 1.3431 | on | circle | 90 | 90 | 53.2 | 0.0052407
Light scatter calibration reference beads
Diameter (nm) | Diameter CV (%) | Measured RI | Measurement Wavelength | Composition | Acquired Stat | Acquired CV | Acquisition Wavelength | Modelled RI | Manufacturer | Catalogue No. | Lot No.
81 | 11.7 | 1.59 | 589 | Polystyrene | 5119 |  | 405 | 1.6253 | ThermoFisher Scientific | 3080A | 228748
100 | 7.7 | 1.59 | 589 | Polystyrene | 15312 |  | 405 | 1.6253 | ThermoFisher Scientific | 3100A | 229003
152 | 3.3 | 1.59 | 589 | Polystyrene | 100915 |  | 405 | 1.6253 | ThermoFisher Scientific | 3150A | 228548
203 | 2.6 | 1.59 | 589 | Polystyrene | 270736 |  | 405 | 1.6253 | ThermoFisher Scientific | 3200A | 205131
269 | 1.6 | 1.59 | 589 | Polystyrene | 608980 |  | 405 | 1.6253 | ThermoFisher Scientific | 3269 | 202729
303 | 1.6 | 1.59 | 589 | Polystyrene | 772546 |  | 405 | 1.6253 | ThermoFisher Scientific | 3300A | 223077
345 | 1.9 | 1.59 | 589 | Polystyrene | 902670 |  | 405 | 1.6253 | ThermoFisher Scientific | 3350A | 199283
401 | 1.3 | 1.59 | 589 | Polystyrene | 1003344 |  | 405 | 1.6253 | ThermoFisher Scientific | 3400 | 228710
453 | 1.7 | 1.59 | 589 | Polystyrene | 1207286 |  | 405 | 1.6253 | ThermoFisher Scientific | 3450A | 204047
480 | 4.2 | 1.45 | 589 | Silica | 174778 |  | 405 | 1.4611 | ThermoFisher Scientific | 8050 | 203277
508 | 1.7 | 1.59 | 589 | Polystyrene | 1672624 |  | 405 | 1.6253 | ThermoFisher Scientific | 3500A | 204667
600 | 1.7 | 1.59 | 589 | Polystyrene | 3135952 |  | 405 | 1.6253 | ThermoFisher Scientific | 3600 | 221251
730 | 4.1 | 1.45 | 589 | Silica | 699125 |  | 405 | 1.4611 | ThermoFisher Scientific | 8070 | 207434
Core-Shell Modelling Settings
Shell RI | Core RI | Shell Thickness (nm) | Parameter Name
1.4737 | 1.3941 | 5 | EV Diameter (nm) [High RI]
1.4737 | 1.3741 | 5 | EV Diameter (nm) [Average RI]
1.4737 | 1.3542 | 5 | EV Diameter (nm) [Low RI]
Solid Sphere Modelling Settings
RI | Parameter Name
1.4546 | MLV Diameter (nm)
1.6253 | Smoothed Polystyrene Diameter (nm)
References
Welsh, J.A., Horak, P., Wilkinson, J.S., Ford, V.J., Jones, J.C., Smith, D., Holloway, J.A. and Englyst, N.A. (2019), FCMPASS Software Aids Extracellular Vesicle Light Scatter Standardization. Cytometry. doi:10.1002/cyto.a.23782
Welsh, J.A., Jones, J.C. and Tang, V.A. (2020), Fluorescence and Light Scatter Calibration Allow Comparisons of Small Particle Data in Standard Units across Different Flow Cytometry Platforms and Detector Settings. Cytometry. doi:10.1002/cyto.a.24029